## Sheet1
Operator_identifier | unit | English
Year | - | 2021
Month | - | 1
Day | - | 25
Comment | - | XRD example3
Specimen | - | Test Sample3
Detector_Pixel_Size | mm | 0.095
Selected_Detector_Name | - | AbcX450(H)
X-ray_Target_Material | - | Cu
K_alpha_1_Wavelength | Angstrom | 1.7406
K_alpha_2_Wavelength | Angstrom | 1.7444
K_beta_Wavelength | Angstrom | 1.5922
Optics_Attribute | - | DB
X-ray_Tube_Current | mA | 45
X-ray_Tube_Voltage | kV | 55
Wavelength_Type | - | K_alpha
Data_Point_Number | - | 4501
Scan_Axis | - | 2Theta-Theta
Scan_Starting_Date_Time | - | 11/21/2021 08:32:31
Scan_Ending_Date_Time | - | 11/21/2021 08:37:42

## Sheet2
2Theta-Theta | Intensity
deg | counts
25 | 13
25.01 | 7
25.02 | 12
25.03 | 6
25.04 | 3
25.05 | 10
25.06 | 5
25.07 | 5
25.08 | 7
25.09 | 14
25.1 | 6
25.11 | 9
25.12 | 6
25.13 | 10
25.14 | 11
25.15 | 12
25.16 | 8
25.17 | 9
25.18 | 9
25.19 | 5
25.2 | 5
25.21 | 8
25.22 | 8
25.23 | 9
25.24 | 11
25.25 | 10
25.26 | 8
25.27 | 9
25.28 | 9
25.29 | 12
25.3 | 13
25.31 | 6
25.32 | 7
25.33 | 12
25.34 | 7
25.35 | 6
25.36 | 9
25.37 | 7
25.38 | 11
25.39 | 10
25.4 | 4
25.41 | 6
25.42 | 9
25.43 | 10
25.44 | 8
25.45 | 11
25.46 | 8
25.47 | 5
25.48 | 5
25.49 | 5
25.5 | 11
25.51 | 8
25.52 | 9
25.53 | 12
25.54 | 14
25.55 | 13
25.56 | 13
25.57 | 9
25.58 | 7
25.59 | 14
25.6 | 13
25.61 | 13
25.62 | 11
25.63 | 9
25.64 | 15
25.65 | 10
25.66 | 6
25.67 | 4
25.68 | 10
25.69 | 6
25.7 | 14
25.71 | 9
25.72 | 11
25.73 | 7
25.74 | 10
25.75 | 9
25.76 | 10
25.77 | 11
25.78 | 11
25.79 | 7
25.8 | 5
25.81 | 5
25.82 | 7
25.83 | 7
25.84 | 5
25.85 | 7
25.86 | 5
25.87 | 10
25.88 | 10
25.89 | 5
25.9 | 5
25.91 | 5
25.92 | 6
25.93 | 14
25.94 | 15
25.95 | 9
25.96 | 15
25.97 | 11
25.98 | 12
25.99 | 10
26 | 11
26.01 | 8
26.02 | 9
26.03 | 9
26.04 | 10
26.05 | 8
26.06 | 3
26.07 | 4
26.08 | 6
26.09 | 7
26.1 | 9
26.11 | 7
26.12 | 11
26.13 | 7
26.14 | 16
26.15 | 18
26.16 | 7
26.17 | 5
26.18 | 13
26.19 | 6
26.2 | 8
26.21 | 7
26.22 | 6
26.23 | 7
26.24 | 9
26.25 | 5
26.26 | 6
26.27 | 9
26.28 | 8
26.29 | 14
26.3 | 11
26.31 | 9
26.32 | 12
26.33 | 6
26.34 | 9
26.35 | 11
26.36 | 6
26.37 | 4
26.38 | 6
26.39 | 10
26.4 | 7
26.41 | 6
26.42 | 7
26.43 | 7
26.44 | 6
26.45 | 8
26.46 | 10
26.47 | 7
26.48 | 6
26.49 | 12
26.5 | 11
26.51 | 8
26.52 | 8
26.53 | 8
26.54 | 11
26.55 | 6
26.56 | 5
26.57 | 5
26.58 | 3
26.59 | 5
26.6 | 7
26.61 | 6
26.62 | 5
26.63 | 2
26.64 | 6
26.65 | 9
26.66 | 9
26.67 | 11
26.68 | 5
26.69 | 6
26.7 | 7
26.71 | 10
26.72 | 8
26.73 | 5
26.74 | 8
26.75 | 10
26.76 | 9
26.77 | 8
26.78 | 9
26.79 | 8
26.8 | 7
26.81 | 9
26.82 | 10
26.83 | 8
26.84 | 6
26.85 | 5
26.86 | 7
26.87 | 9
26.88 | 7
26.89 | 10
26.9 | 14
26.91 | 3
26.92 | 7
26.93 | 7
26.94 | 11
26.95 | 7
26.96 | 8
26.97 | 6
26.98 | 9
26.99 | 6
27 | 5
27.01 | 5
27.02 | 5
27.03 | 6
27.04 | 7
27.05 | 7
27.06 | 8
27.07 | 9
27.08 | 6
27.09 | 11
27.1 | 5
27.11 | 5
27.12 | 11
27.13 | 7
27.14 | 11
27.15 | 9
27.16 | 10
27.17 | 8
27.18 | 10
27.19 | 12
27.2 | 14
27.21 | 5
27.22 | 12
27.23 | 17
27.24 | 12
27.25 | 7
27.26 | 9
27.27 | 14
27.28 | 10
27.29 | 9
27.3 | 9
27.31 | 14
27.32 | 9
27.33 | 13
27.34 | 14
27.35 | 11
27.36 | 12
27.37 | 8
27.38 | 7
27.39 | 12
27.4 | 19
27.41 | 18
27.42 | 11
27.43 | 13
27.44 | 10
27.45 | 15
27.46 | 9
27.47 | 14
27.48 | 24
27.49 | 16
27.5 | 13
27.51 | 18
27.52 | 20
27.53 | 21
27.54 | 14
27.55 | 10
27.56 | 14
27.57 | 10
27.58 | 17
27.59 | 15
27.6 | 12
27.61 | 13
27.62 | 21
27.63 | 23
27.64 | 14
27.65 | 13
27.66 | 20
27.67 | 21
27.68 | 16
27.69 | 18
27.7 | 17
27.71 | 19
27.72 | 13
27.73 | 20
27.74 | 10
27.75 | 17
27.76 | 19
27.77 | 17
27.78 | 21
27.79 | 23
27.8 | 24
27.81 | 20
27.82 | 22
27.83 | 21
27.84 | 20
27.85 | 24
27.86 | 19
27.87 | 24
27.88 | 13
27.89 | 21
27.9 | 16
27.91 | 13
27.92 | 24
27.93 | 29
27.94 | 30
27.95 | 24
27.96 | 23
27.97 | 30
27.98 | 24
27.99 | 27
28 | 23
28.01 | 24
28.02 | 26
28.03 | 32
28.04 | 33
28.05 | 27
28.06 | 31
28.07 | 36
28.08 | 30
28.09 | 42
28.1 | 36
28.11 | 42
28.12 | 38
28.13 | 48
28.14 | 40
28.15 | 62
28.16 | 52
28.17 | 59
28.18 | 64
28.19 | 64
28.2 | 65
28.21 | 75
28.22 | 88
28.23 | 108
28.24 | 120
28.25 | 135
28.26 | 144
28.27 | 179
28.28 | 238
28.29 | 261
28.3 | 328
28.31 | 418
28.32 | 540
28.33 | 764
28.34 | 1086
28.35 | 1508
28.36 | 2114
28.37 | 2724
28.38 | 3578
28.39 | 4294
28.4 | 4551
28.41 | 3985
28.42 | 3109
28.43 | 2382
28.44 | 2114
28.45 | 2162
28.46 | 2282
28.47 | 2366
28.48 | 2100
28.49 | 1597
28.5 | 1060
28.51 | 661
28.52 | 478
28.53 | 351
28.54 | 255
28.55 | 202
28.56 | 166
28.57 | 142
28.58 | 133
28.59 | 108
28.6 | 101
28.61 | 82
28.62 | 70
28.63 | 64
28.64 | 55
28.65 | 54
28.66 | 42
28.67 | 43
28.68 | 46
28.69 | 39
28.7 | 41
28.71 | 39
28.72 | 37
28.73 | 25
28.74 | 22
28.75 | 32
28.76 | 31
28.77 | 19
28.78 | 31
28.79 | 30
28.8 | 28
28.81 | 22
28.82 | 29
28.83 | 26
28.84 | 21
28.85 | 33
28.86 | 22
28.87 | 23
28.88 | 27
28.89 | 18
28.9 | 19
28.91 | 16
28.92 | 17
28.93 | 11
28.94 | 16
28.95 | 13
28.96 | 22
28.97 | 11
28.98 | 14
28.99 | 20
29 | 16
29.01 | 12
29.02 | 13
29.03 | 13
29.04 | 12
29.05 | 12
29.06 | 10
29.07 | 17
29.08 | 7
29.09 | 7
29.1 | 11
29.11 | 13
29.12 | 10
29.13 | 14
29.14 | 15
29.15 | 10
29.16 | 13
29.17 | 5
29.18 | 13
29.19 | 12
29.2 | 7
29.21 | 12
29.22 | 7
29.23 | 8
29.24 | 4
29.25 | 10
29.26 | 4
29.27 | 8
29.28 | 9
29.29 | 12
29.3 | 9
29.31 | 10
29.32 | 11
29.33 | 9
29.34 | 4
29.35 | 7
29.36 | 9
29.37 | 7
29.38 | 11
29.39 | 12
29.4 | 7
29.41 | 12
29.42 | 9
29.43 | 6
29.44 | 10
29.45 | 9
29.46 | 4
29.47 | 4
29.48 | 4
29.49 | 11
29.5 | 9
29.51 | 6
29.52 | 5
29.53 | 7
29.54 | 14
29.55 | 7
29.56 | 8
29.57 | 7
29.58 | 5
29.59 | 10
29.6 | 8
29.61 | 5
29.62 | 6
29.63 | 10
29.64 | 4
29.65 | 5
29.66 | 13
29.67 | 5
29.68 | 7
29.69 | 5
29.7 | 8
29.71 | 5
29.72 | 8
29.73 | 10
29.74 | 5
29.75 | 4
29.76 | 5
29.77 | 7
29.78 | 5
29.79 | 11
29.8 | 8
29.81 | 9
29.82 | 9
29.83 | 5
29.84 | 5
29.85 | 11
29.86 | 10
29.87 | 3
29.88 | 6
29.89 | 2
29.9 | 2
29.91 | 5
29.92 | 5
29.93 | 6
29.94 | 6
29.95 | 12
29.96 | 7
29.97 | 7
29.98 | 14
29.99 | 7
30 | 3
30.01 | 7
30.02 | 7
30.03 | 4
30.04 | 6
30.05 | 9
30.06 | 5
30.07 | 8
30.08 | 5
30.09 | 5
30.1 | 10
30.11 | 7
30.12 | 8
30.13 | 8
30.14 | 8
30.15 | 9
30.16 | 7
30.17 | 9
30.18 | 8
30.19 | 6
30.2 | 3
30.21 | 5
30.22 | 4
30.23 | 6
30.24 | 1
30.25 | 7
30.26 | 3
30.27 | 4
30.28 | 6
30.29 | 2
30.3 | 7
30.31 | 4
30.32 | 4
30.33 | 6
30.34 | 8
30.35 | 5
30.36 | 4
30.37 | 6
30.38 | 6
30.39 | 6
30.4 | 5
30.41 | 2
30.42 | 6
30.43 | 5
30.44 | 8
30.45 | 4
30.46 | 6
30.47 | 5
30.48 | 5
30.49 | 4
30.5 | 11
30.51 | 5
30.52 | 3
30.53 | 3
30.54 | 6
30.55 | 6
30.56 | 5
30.57 | 1
30.58 | 3
30.59 | 13
30.6 | 8
30.61 | 7
30.62 | 7
30.63 | 3
30.64 | 5
30.65 | 6
30.66 | 1
30.67 | 4
30.68 | 2
30.69 | 7
30.7 | 4
30.71 | 4
30.72 | 5
30.73 | 2
30.74 | 6
30.75 | 3
30.76 | 5
30.77 | 3
30.78 | 8
30.79 | 6
30.8 | 4
30.81 | 8
30.82 | 3
30.83 | 9
30.84 | 7
30.85 | 2
30.86 | 5
30.87 | 4
30.88 | 2
30.89 | 8
30.9 | 9
30.91 | 7
30.92 | 4
30.93 | 6
30.94 | 6
30.95 | 3
30.96 | 3
30.97 | 7
30.98 | 5
30.99 | 4
31 | 8
31.01 | 4
31.02 | 6
31.03 | 3
31.04 | 3
31.05 | 8
31.06 | 5
31.07 | 7
31.08 | 11
31.09 | 6
31.1 | 9
31.11 | 4
31.12 | 4
31.13 | 5
31.14 | 3
31.15 | 6
31.16 | 7
31.17 | 5
31.18 | 7
31.19 | 3
31.2 | 4
31.21 | 3
31.22 | 4
31.23 | 5
31.24 | 4
31.25 | 8
31.26 | 5
31.27 | 1
31.28 | 2
31.29 | 7
31.3 | 9
31.31 | 4
31.32 | 5
31.33 | 4
31.34 | 5
31.35 | 9
31.36 | 5
31.37 | 7
31.38 | 1
31.39 | 5
31.4 | 6
31.41 | 2
31.42 | 5
31.43 | 7
31.44 | 6
31.45 | 4
31.46 | 9
31.47 | 6
31.48 | 4
31.49 | 6
31.5 | 6
31.51 | 7
31.52 | 11
31.53 | 3
31.54 | 4
31.55 | 4
31.56 | 2
31.57 | 7
31.58 | 10
31.59 | 7
31.6 | 6
31.61 | 8
31.62 | 3
31.63 | 6
31.64 | 7
31.65 | 5
31.66 | 4
31.67 | 5
31.68 | 6
31.69 | 8
31.7 | 6
31.71 | 3
31.72 | 6
31.73 | 2
31.74 | 4
31.75 | 11
31.76 | 6
31.77 | 4
31.78 | 4
31.79 | 9
31.8 | 7
31.81 | 5
31.82 | 11
31.83 | 3
31.84 | 7
31.85 | 3
31.86 | 5
31.87 | 7
31.88 | 7
31.89 | 8
31.9 | 4
31.91 | 5
31.92 | 5
31.93 | 7
31.94 | 4
31.95 | 3
31.96 | 4
31.97 | 9
31.98 | 7
31.99 | 8
32 | 7
32.01 | 9
32.02 | 5
32.03 | 5
32.04 | 5
32.05 | 6
32.06 | 5
32.07 | 5
32.08 | 6
32.09 | 7
32.1 | 4
32.11 | 3
32.12 | 8
32.13 | 6
32.14 | 4
32.15 | 6
32.16 | 8
32.17 | 5
32.18 | 6
32.19 | 3
32.2 | 5
32.21 | 3
32.22 | 7
32.23 | 2
32.24 | 4
32.25 | 6
32.26 | 2
32.27 | 6
32.28 | 10
32.29 | 6
32.3 | 5
32.31 | 5
32.32 | 7
32.33 | 9
32.34 | 1
32.35 | 7
32.36 | 4
32.37 | 3
32.38 | 2
32.39 | 7
32.4 | 9
32.41 | 6
32.42 | 1
32.43 | 5
32.44 | 4
32.45 | 1
32.46 | 6
32.47 | 6
32.48 | 7
32.49 | 3
32.5 | 4
32.51 | 4
32.52 | 5
32.53 | 10
32.54 | 6
32.55 | 3
32.56 | 3
32.57 | 5
32.58 | 5
32.59 | 6
32.6 | 7
32.61 | 7
32.62 | 5
32.63 | 2
32.64 | 6
32.65 | 6
32.66 | 4
32.67 | 2
32.68 | 7
32.69 | 4
32.7 | 6
32.71 | 5
32.72 | 3
32.73 | 1
32.74 | 5
32.75 | 2
32.76 | 2
32.77 | 3
32.78 | 4
32.79 | 3
32.8 | 4
32.81 | 8
32.82 | 6
32.83 | 9
32.84 | 5
32.85 | 3
32.86 | 2
32.87 | 8
32.88 | 8
32.89 | 5
32.9 | 3
32.91 | 4
32.92 | 7
32.93 | 5
32.94 | 5
32.95 | 4
32.96 | 4
32.97 | 0
32.98 | 5
32.99 | 6
33 | 4
33.01 | 8
33.02 | 7
33.03 | 6
33.04 | 4
33.05 | 2
33.06 | 3
33.07 | 5
33.08 | 7
33.09 | 2
33.1 | 6
33.11 | 1
33.12 | 6
33.13 | 6
33.14 | 5
33.15 | 2
33.16 | 3
33.17 | 3
33.18 | 7
33.19 | 8
33.2 | 4
33.21 | 3
33.22 | 2
33.23 | 6
33.24 | 4
33.25 | 6
33.26 | 2
33.27 | 4
33.28 | 8
33.29 | 5
33.3 | 4
33.31 | 7
33.32 | 4
33.33 | 5
33.34 | 5
33.35 | 2
33.36 | 8
33.37 | 2
33.38 | 2
33.39 | 6
33.4 | 3
33.41 | 1
33.42 | 5
33.43 | 5
33.44 | 4
33.45 | 3
33.46 | 1
33.47 | 3
33.48 | 6
33.49 | 4
33.5 | 4
33.51 | 7
33.52 | 6
33.53 | 1
33.54 | 2
33.55 | 5
33.56 | 2
33.57 | 2
33.58 | 7
33.59 | 3
33.6 | 9
33.61 | 6
33.62 | 3
33.63 | 7
33.64 | 2
33.65 | 5
33.66 | 3
33.67 | 3
33.68 | 2
33.69 | 4
33.7 | 5
33.71 | 4
33.72 | 7
33.73 | 4
33.74 | 7
33.75 | 5
33.76 | 1
33.77 | 3
33.78 | 2
33.79 | 9
33.8 | 3
33.81 | 6
33.82 | 5
33.83 | 2
33.84 | 3
33.85 | 2
33.86 | 3
33.87 | 5
33.88 | 4
33.89 | 6
33.9 | 4
33.91 | 3
33.92 | 2
33.93 | 6
33.94 | 2
33.95 | 2
33.96 | 7
33.97 | 5
33.98 | 4
33.99 | 2
34 | 3
34.01 | 1
34.02 | 4
34.03 | 4
34.04 | 5
34.05 | 7
34.06 | 4
34.07 | 2
34.08 | 4
34.09 | 3
34.1 | 3
34.11 | 2
34.12 | 4
34.13 | 2
34.14 | 8
34.15 | 7
34.16 | 2
34.17 | 5
34.18 | 2
34.19 | 1
34.2 | 2
34.21 | 5
34.22 | 3
34.23 | 4
34.24 | 2
34.25 | 2
34.26 | 2
34.27 | 2
34.28 | 3
34.29 | 4
34.3 | 5
34.31 | 3
34.32 | 5
34.33 | 4
34.34 | 3
34.35 | 11
34.36 | 5
34.37 | 2
34.38 | 3
34.39 | 5
34.4 | 7
34.41 | 3
34.42 | 6
34.43 | 3
34.44 | 4
34.45 | 2
34.46 | 6
34.47 | 3
34.48 | 5
34.49 | 3
34.5 | 5
34.51 | 7
34.52 | 8
34.53 | 3
34.54 | 1
34.55 | 4
34.56 | 7
34.57 | 6
34.58 | 5
34.59 | 3
34.6 | 5
34.61 | 5
34.62 | 1
34.63 | 6
34.64 | 4
34.65 | 5
34.66 | 5
34.67 | 6
34.68 | 3
34.69 | 2
34.7 | 4
34.71 | 5
34.72 | 3
34.73 | 1
34.74 | 2
34.75 | 3
34.76 | 4
34.77 | 1
34.78 | 1
34.79 | 2
34.8 | 2
34.81 | 1
34.82 | 4
34.83 | 5
34.84 | 4
34.85 | 2
34.86 | 0
34.87 | 2
34.88 | 2
34.89 | 5
34.9 | 3
34.91 | 2
34.92 | 1
34.93 | 0
34.94 | 1
34.95 | 2
34.96 | 1
34.97 | 3
34.98 | 3
34.99 | 2
35 | 3
35.01 | 4
35.02 | 4
35.03 | 9
35.04 | 8
35.05 | 2
35.06 | 4
35.07 | 3
35.08 | 0
35.09 | 4
35.1 | 3
35.11 | 1
35.12 | 6
35.13 | 4
35.14 | 4
35.15 | 6
35.16 | 1
35.17 | 3
35.18 | 4
35.19 | 6
35.2 | 2
35.21 | 3
35.22 | 3
35.23 | 5
35.24 | 3
35.25 | 3
35.26 | 7
35.27 | 5
35.28 | 4
35.29 | 3
35.3 | 4
35.31 | 2
35.32 | 4
35.33 | 4
35.34 | 4
35.35 | 3
35.36 | 3
35.37 | 3
35.38 | 1
35.39 | 4
35.4 | 1
35.41 | 1
35.42 | 4
35.43 | 3
35.44 | 3
35.45 | 1
35.46 | 1
35.47 | 5
35.48 | 2
35.49 | 5
35.5 | 2
35.51 | 9
35.52 | 3
35.53 | 4
35.54 | 2
35.55 | 3
35.56 | 2
35.57 | 5
35.58 | 4
35.59 | 2
35.6 | 4
35.61 | 5
35.62 | 5
35.63 | 2
35.64 | 4
35.65 | 2
35.66 | 3
35.67 | 5
35.68 | 9
35.69 | 4
35.7 | 7
35.71 | 2
35.72 | 4
35.73 | 4
35.74 | 6
35.75 | 2
35.76 | 3
35.77 | 4
35.78 | 1
35.79 | 5
35.8 | 4
35.81 | 7
35.82 | 4
35.83 | 3
35.84 | 6
35.85 | 5
35.86 | 3
35.87 | 5
35.88 | 7
35.89 | 5
35.9 | 5
35.91 | 0
35.92 | 3
35.93 | 2
35.94 | 4
35.95 | 3
35.96 | 4
35.97 | 1
35.98 | 3
35.99 | 7
36 | 4
36.01 | 5
36.02 | 3
36.03 | 3
36.04 | 4
36.05 | 1
36.06 | 3
36.07 | 0
36.08 | 6
36.09 | 5
36.1 | 4
36.11 | 3
36.12 | 2
36.13 | 2
36.14 | 4
36.15 | 5
36.16 | 5
36.17 | 4
36.18 | 4
36.19 | 3
36.2 | 0
36.21 | 5
36.22 | 2
36.23 | 5
36.24 | 5
36.25 | 4
36.26 | 6
36.27 | 2
36.28 | 5
36.29 | 6
36.3 | 8
36.31 | 6
36.32 | 4
36.33 | 2
36.34 | 5
36.35 | 3
36.36 | 2
36.37 | 5
36.38 | 2
36.39 | 2
36.4 | 5
36.41 | 2
36.42 | 3
36.43 | 10
36.44 | 1
36.45 | 3
36.46 | 2
36.47 | 2
36.48 | 5
36.49 | 4
36.5 | 8
36.51 | 5
36.52 | 2
36.53 | 4
36.54 | 5
36.55 | 2
36.56 | 2
36.57 | 2
36.58 | 2
36.59 | 3
36.6 | 5
36.61 | 7
36.62 | 8
36.63 | 5
36.64 | 3
36.65 | 6
36.66 | 9
36.67 | 6
36.68 | 6
36.69 | 4
36.7 | 4
36.71 | 9
36.72 | 5
36.73 | 4
36.74 | 4
36.75 | 6
36.76 | 8
36.77 | 2
36.78 | 4
36.79 | 5
36.8 | 1
36.81 | 6
36.82 | 3
36.83 | 5
36.84 | 6
36.85 | 5
36.86 | 8
36.87 | 2
36.88 | 7
36.89 | 5
36.9 | 3
36.91 | 2
36.92 | 7
36.93 | 7
36.94 | 3
36.95 | 5
36.96 | 4
36.97 | 3
36.98 | 3
36.99 | 4
37 | 4
37.01 | 4
37.02 | 5
37.03 | 3
37.04 | 3
37.05 | 3
37.06 | 4
37.07 | 7
37.08 | 6
37.09 | 5
37.1 | 5
37.11 | 7
37.12 | 2
37.13 | 4
37.14 | 3
37.15 | 2
37.16 | 0
37.17 | 2
37.18 | 3
37.19 | 8
37.2 | 3
37.21 | 2
37.22 | 4
37.23 | 5
37.24 | 6
37.25 | 6
37.26 | 3
37.27 | 4
37.28 | 2
37.29 | 3
37.3 | 8
37.31 | 5
37.32 | 3
37.33 | 2
37.34 | 2
37.35 | 2
37.36 | 3
37.37 | 2
37.38 | 7
37.39 | 3
37.4 | 2
37.41 | 5
37.42 | 4
37.43 | 3
37.44 | 6
37.45 | 3
37.46 | 3
37.47 | 3
37.48 | 5
37.49 | 4
37.5 | 1
37.51 | 4
37.52 | 5
37.53 | 3
37.54 | 4
37.55 | 5
37.56 | 4
37.57 | 5
37.58 | 3
37.59 | 8
37.6 | 5
37.61 | 4
37.62 | 6
37.63 | 4
37.64 | 4
37.65 | 5
37.66 | 2
37.67 | 4
37.68 | 2
37.69 | 3
37.7 | 3
37.71 | 2
37.72 | 4
37.73 | 4
37.74 | 3
37.75 | 1
37.76 | 4
37.77 | 2
37.78 | 1
37.79 | 3
37.8 | 5
37.81 | 1
37.82 | 2
37.83 | 4
37.84 | 3
37.85 | 5
37.86 | 8
37.87 | 5
37.88 | 2
37.89 | 4
37.9 | 6
37.91 | 3
37.92 | 2
37.93 | 5
37.94 | 1
37.95 | 3
37.96 | 3
37.97 | 6
37.98 | 2
37.99 | 4
38 | 5
38.01 | 2
38.02 | 2
38.03 | 5
38.04 | 4
38.05 | 4
38.06 | 3
38.07 | 5
38.08 | 2
38.09 | 0
38.1 | 1
38.11 | 2
38.12 | 2
38.13 | 2
38.14 | 3
38.15 | 4
38.16 | 2
38.17 | 4
38.18 | 3
38.19 | 6
38.2 | 5
38.21 | 4
38.22 | 4
38.23 | 5
38.24 | 1
38.25 | 2
38.26 | 2
38.27 | 3
38.28 | 4
38.29 | 3
38.3 | 3
38.31 | 7
38.32 | 4
38.33 | 3
38.34 | 3
38.35 | 7
38.36 | 5
38.37 | 5
38.38 | 3
38.39 | 5
38.4 | 3
38.41 | 3
38.42 | 7
38.43 | 3
38.44 | 6
38.45 | 4
38.46 | 4
38.47 | 2
38.48 | 5
38.49 | 3
38.5 | 3
38.51 | 3
38.52 | 3
38.53 | 1
38.54 | 2
38.55 | 1
38.56 | 6
38.57 | 6
38.58 | 5
38.59 | 1
38.6 | 3
38.61 | 2
38.62 | 3
38.63 | 4
38.64 | 2
38.65 | 1
38.66 | 4
38.67 | 4
38.68 | 1
38.69 | 4
38.7 | 6
38.71 | 4
38.72 | 5
38.73 | 4
38.74 | 4
38.75 | 1
38.76 | 4
38.77 | 4
38.78 | 4
38.79 | 4
38.8 | 2
38.81 | 2
38.82 | 4
38.83 | 4
38.84 | 5
38.85 | 2
38.86 | 1
38.87 | 1
38.88 | 3
38.89 | 3
38.9 | 3
38.91 | 4
38.92 | 6
38.93 | 2
38.94 | 4
38.95 | 6
38.96 | 7
38.97 | 5
38.98 | 2
38.99 | 5
39 | 5
39.01 | 3
39.02 | 3
39.03 | 6
39.04 | 4
39.05 | 7
39.06 | 9
39.07 | 5
39.08 | 6
39.09 | 5
39.1 | 2
39.11 | 3
39.12 | 4
39.13 | 5
39.14 | 5
39.15 | 3
39.16 | 2
39.17 | 6
39.18 | 3
39.19 | 1
39.2 | 3
39.21 | 6
39.22 | 3
39.23 | 3
39.24 | 2
39.25 | 2
39.26 | 2
39.27 | 3
39.28 | 9
39.29 | 5
39.3 | 3
39.31 | 7
39.32 | 1
39.33 | 4
39.34 | 6
39.35 | 2
39.36 | 0
39.37 | 4
39.38 | 3
39.39 | 6
39.4 | 1
39.41 | 7
39.42 | 6
39.43 | 5
39.44 | 3
39.45 | 4
39.46 | 4
39.47 | 3
39.48 | 3
39.49 | 1
39.5 | 3
39.51 | 5
39.52 | 8
39.53 | 3
39.54 | 6
39.55 | 1
39.56 | 4
39.57 | 2
39.58 | 3
39.59 | 3
39.6 | 2
39.61 | 3
39.62 | 6
39.63 | 6
39.64 | 3
39.65 | 5
39.66 | 3
39.67 | 2
39.68 | 5
39.69 | 1
39.7 | 5
39.71 | 2
39.72 | 4
39.73 | 3
39.74 | 2
39.75 | 3
39.76 | 4
39.77 | 5
39.78 | 7
39.79 | 5
39.8 | 3
39.81 | 5
39.82 | 2
39.83 | 2
39.84 | 5
39.85 | 5
39.86 | 3
39.87 | 3
39.88 | 5
39.89 | 4
39.9 | 4
39.91 | 2
39.92 | 5
39.93 | 0
39.94 | 1
39.95 | 5
39.96 | 6
39.97 | 1
39.98 | 1
39.99 | 1
40 | 3
40.01 | 5
40.02 | 2
40.03 | 4
40.04 | 1
40.05 | 4
40.06 | 5
40.07 | 4
40.08 | 4
40.09 | 5
40.1 | 5
40.11 | 2
40.12 | 5
40.13 | 9
40.14 | 2
40.15 | 6
40.16 | 3
40.17 | 3
40.18 | 6
40.19 | 1
40.2 | 3
40.21 | 4
40.22 | 9
40.23 | 3
40.24 | 2
40.25 | 4
40.26 | 5
40.27 | 7
40.28 | 2
40.29 | 6
40.3 | 3
40.31 | 2
40.32 | 2
40.33 | 3
40.34 | 3
40.35 | 6
40.36 | 5
40.37 | 3
40.38 | 3
40.39 | 3
40.4 | 3
40.41 | 3
40.42 | 3
40.43 | 6
40.44 | 3
40.45 | 8
40.46 | 3
40.47 | 6
40.48 | 1
40.49 | 5
40.5 | 5
40.51 | 5
40.52 | 2
40.53 | 1
40.54 | 4
40.55 | 6
40.56 | 5
40.57 | 1
40.58 | 4
40.59 | 5
40.6 | 4
40.61 | 5
40.62 | 3
40.63 | 1
40.64 | 2
40.65 | 5
40.66 | 4
40.67 | 3
40.68 | 7
40.69 | 1
40.7 | 5
40.71 | 7
40.72 | 2
40.73 | 3
40.74 | 5
40.75 | 4
40.76 | 8
40.77 | 4
40.78 | 8
40.79 | 2
40.8 | 2
40.81 | 2
40.82 | 4
40.83 | 4
40.84 | 3
40.85 | 3
40.86 | 3
40.87 | 3
40.88 | 5
40.89 | 4
40.9 | 4
40.91 | 4
40.92 | 1
40.93 | 2
40.94 | 5
40.95 | 4
40.96 | 6
40.97 | 4
40.98 | 1
40.99 | 3
41 | 6
41.01 | 7
41.02 | 1
41.03 | 3
41.04 | 5
41.05 | 3
41.06 | 6
41.07 | 3
41.08 | 4
41.09 | 1
41.1 | 1
41.11 | 3
41.12 | 5
41.13 | 4
41.14 | 2
41.15 | 3
41.16 | 4
41.17 | 6
41.18 | 2
41.19 | 2
41.2 | 1
41.21 | 3
41.22 | 5
41.23 | 2
41.24 | 5
41.25 | 5
41.26 | 4
41.27 | 1
41.28 | 0
41.29 | 0
41.3 | 1
41.31 | 3
41.32 | 1
41.33 | 1
41.34 | 5
41.35 | 5
41.36 | 5
41.37 | 0
41.38 | 3
41.39 | 3
41.4 | 3
41.41 | 4
41.42 | 5
41.43 | 3
41.44 | 2
41.45 | 6
41.46 | 3
41.47 | 2
41.48 | 7
41.49 | 4
41.5 | 6
41.51 | 3
41.52 | 3
41.53 | 4
41.54 | 3
41.55 | 4
41.56 | 3
41.57 | 3
41.58 | 3
41.59 | 4
41.6 | 4
41.61 | 5
41.62 | 1
41.63 | 3
41.64 | 4
41.65 | 2
41.66 | 4
41.67 | 6
41.68 | 7
41.69 | 5
41.7 | 4
41.71 | 3
41.72 | 2
41.73 | 3
41.74 | 10
41.75 | 6
41.76 | 3
41.77 | 4
41.78 | 7
41.79 | 5
41.8 | 1
41.81 | 2
41.82 | 2
41.83 | 4
41.84 | 1
41.85 | 3
41.86 | 2
41.87 | 3
41.88 | 3
41.89 | 6
41.9 | 2
41.91 | 3
41.92 | 4
41.93 | 2
41.94 | 4
41.95 | 4
41.96 | 2
41.97 | 1
41.98 | 2
41.99 | 8
42 | 4
42.01 | 3
42.02 | 2
42.03 | 10
42.04 | 5
42.05 | 3
42.06 | 7
42.07 | 4
42.08 | 4
42.09 | 2
42.1 | 4
42.11 | 6
42.12 | 5
42.13 | 3
42.14 | 7
42.15 | 1
42.16 | 2
42.17 | 3
42.18 | 3
42.19 | 5
42.2 | 3
42.21 | 4
42.22 | 1
42.23 | 4
42.24 | 5
42.25 | 3
42.26 | 3
42.27 | 5
42.28 | 4
42.29 | 1
42.3 | 5
42.31 | 6
42.32 | 6
42.33 | 4
42.34 | 5
42.35 | 4
42.36 | 3
42.37 | 2
42.38 | 2
42.39 | 6
42.4 | 8
42.41 | 6
42.42 | 8
42.43 | 10
42.44 | 7
42.45 | 5
42.46 | 4
42.47 | 7
42.48 | 8
42.49 | 9
42.5 | 9
42.51 | 3
42.52 | 4
42.53 | 5
42.54 | 5
42.55 | 5
42.56 | 5
42.57 | 3
42.58 | 4
42.59 | 0
42.6 | 4
42.61 | 5
42.62 | 2
42.63 | 3
42.64 | 1
42.65 | 3
42.66 | 3
42.67 | 4
42.68 | 4
42.69 | 2
42.7 | 3
42.71 | 6
42.72 | 4
42.73 | 4
42.74 | 2
42.75 | 3
42.76 | 4
42.77 | 3
42.78 | 3
42.79 | 3
42.8 | 2
42.81 | 6
42.82 | 6
42.83 | 6
42.84 | 7
42.85 | 6
42.86 | 3
42.87 | 4
42.88 | 2
42.89 | 6
42.9 | 5
42.91 | 2
42.92 | 1
42.93 | 1
42.94 | 3
42.95 | 1
42.96 | 5
42.97 | 3
42.98 | 4
42.99 | 1
43 | 7
43.01 | 4
43.02 | 7
43.03 | 4
43.04 | 6
43.05 | 5
43.06 | 1
43.07 | 3
43.08 | 3
43.09 | 2
43.1 | 1
43.11 | 1
43.12 | 0
43.13 | 3
43.14 | 1
43.15 | 3
43.16 | 5
43.17 | 4
43.18 | 3
43.19 | 2
43.2 | 2
43.21 | 5
43.22 | 4
43.23 | 4
43.24 | 9
43.25 | 5
43.26 | 5
43.27 | 4
43.28 | 3
43.29 | 2
43.3 | 4
43.31 | 3
43.32 | 7
43.33 | 7
43.34 | 4
43.35 | 4
43.36 | 4
43.37 | 2
43.38 | 2
43.39 | 3
43.4 | 3
43.41 | 3
43.42 | 6
43.43 | 4
43.44 | 0
43.45 | 3
43.46 | 6
43.47 | 3
43.48 | 6
43.49 | 2
43.5 | 3
43.51 | 1
43.52 | 4
43.53 | 3
43.54 | 3
43.55 | 3
43.56 | 1
43.57 | 1
43.58 | 4
43.59 | 2
43.6 | 3
43.61 | 2
43.62 | 4
43.63 | 4
43.64 | 1
43.65 | 3
43.66 | 7
43.67 | 9
43.68 | 4
43.69 | 4
43.7 | 5
43.71 | 1
43.72 | 4
43.73 | 2
43.74 | 3
43.75 | 5
43.76 | 4
43.77 | 4
43.78 | 4
43.79 | 3
43.8 | 2
43.81 | 4
43.82 | 2
43.83 | 2
43.84 | 4
43.85 | 1
43.86 | 1
43.87 | 2
43.88 | 2
43.89 | 0
43.9 | 7
43.91 | 3
43.92 | 5
43.93 | 4
43.94 | 5
43.95 | 0
43.96 | 2
43.97 | 3
43.98 | 3
43.99 | 6
44 | 3
44.01 | 4
44.02 | 8
44.03 | 1
44.04 | 5
44.05 | 3
44.06 | 7
44.07 | 5
44.08 | 4
44.09 | 5
44.1 | 3
44.11 | 2
44.12 | 2
44.13 | 6
44.14 | 4
44.15 | 5
44.16 | 1
44.17 | 5
44.18 | 2
44.19 | 2
44.2 | 4
44.21 | 5
44.22 | 4
44.23 | 3
44.24 | 4
44.25 | 4
44.26 | 4
44.27 | 4
44.28 | 5
44.29 | 5
44.3 | 2
44.31 | 3
44.32 | 3
44.33 | 7
44.34 | 3
44.35 | 6
44.36 | 3
44.37 | 4
44.38 | 6
44.39 | 5
44.4 | 5
44.41 | 6
44.42 | 4
44.43 | 3
44.44 | 6
44.45 | 3
44.46 | 7
44.47 | 5
44.48 | 1
44.49 | 4
44.5 | 4
44.51 | 1
44.52 | 5
44.53 | 3
44.54 | 2
44.55 | 2
44.56 | 6
44.57 | 3
44.58 | 6
44.59 | 4
44.6 | 2
44.61 | 8
44.62 | 6
44.63 | 4
44.64 | 5
44.65 | 8
44.66 | 3
44.67 | 4
44.68 | 5
44.69 | 5
44.7 | 3
44.71 | 2
44.72 | 3
44.73 | 5
44.74 | 5
44.75 | 3
44.76 | 2
44.77 | 4
44.78 | 7
44.79 | 4
44.8 | 4
44.81 | 3
44.82 | 7
44.83 | 4
44.84 | 3
44.85 | 7
44.86 | 4
44.87 | 8
44.88 | 1
44.89 | 4
44.9 | 4
44.91 | 4
44.92 | 4
44.93 | 8
44.94 | 6
44.95 | 5
44.96 | 5
44.97 | 2
44.98 | 1
44.99 | 4
45 | 4
45.01 | 3
45.02 | 5
45.03 | 6
45.04 | 9
45.05 | 7
45.06 | 9
45.07 | 7
45.08 | 8
45.09 | 5
45.1 | 6
45.11 | 8
45.12 | 4
45.13 | 7
45.14 | 10
45.15 | 4
45.16 | 2
45.17 | 6
45.18 | 9
45.19 | 4
45.2 | 6
45.21 | 5
45.22 | 6
45.23 | 3
45.24 | 4
45.25 | 1
45.26 | 6
45.27 | 2
45.28 | 3
45.29 | 5
45.3 | 3
45.31 | 3
45.32 | 2
45.33 | 6
45.34 | 5
45.35 | 7
45.36 | 4
45.37 | 3
45.38 | 4
45.39 | 2
45.4 | 2
45.41 | 4
45.42 | 4
45.43 | 4
45.44 | 7
45.45 | 5
45.46 | 3
45.47 | 9
45.48 | 5
45.49 | 5
45.5 | 7
45.51 | 4
45.52 | 3
45.53 | 7
45.54 | 11
45.55 | 10
45.56 | 13
45.57 | 10
45.58 | 3
45.59 | 3
45.6 | 6
45.61 | 7
45.62 | 6
45.63 | 5
45.64 | 8
45.65 | 8
45.66 | 4
45.67 | 9
45.68 | 7
45.69 | 4
45.7 | 3
45.71 | 8
45.72 | 2
45.73 | 6
45.74 | 7
45.75 | 8
45.76 | 7
45.77 | 8
45.78 | 5
45.79 | 10
45.8 | 5
45.81 | 2
45.82 | 7
45.83 | 6
45.84 | 4
45.85 | 7
45.86 | 6
45.87 | 4
45.88 | 6
45.89 | 5
45.9 | 10
45.91 | 6
45.92 | 9
45.93 | 6
45.94 | 12
45.95 | 8
45.96 | 9
45.97 | 4
45.98 | 9
45.99 | 9
46 | 15
46.01 | 6
46.02 | 10
46.03 | 10
46.04 | 9
46.05 | 12
46.06 | 10
46.07 | 5
46.08 | 6
46.09 | 6
46.1 | 5
46.11 | 15
46.12 | 5
46.13 | 8
46.14 | 6
46.15 | 7
46.16 | 9
46.17 | 8
46.18 | 9
46.19 | 6
46.2 | 11
46.21 | 5
46.22 | 8
46.23 | 9
46.24 | 11
46.25 | 7
46.26 | 3
46.27 | 8
46.28 | 10
46.29 | 6
46.3 | 9
46.31 | 10
46.32 | 9
46.33 | 8
46.34 | 10
46.35 | 10
46.36 | 16
46.37 | 8
46.38 | 11
46.39 | 11
46.4 | 14
46.41 | 11
46.42 | 11
46.43 | 15
46.44 | 8
46.45 | 15
46.46 | 9
46.47 | 13
46.48 | 10
46.49 | 7
46.5 | 5
46.51 | 14
46.52 | 13
46.53 | 11
46.54 | 10
46.55 | 12
46.56 | 9
46.57 | 9
46.58 | 22
46.59 | 7
46.6 | 13
46.61 | 8
46.62 | 11
46.63 | 10
46.64 | 9
46.65 | 8
46.66 | 17
46.67 | 16
46.68 | 17
46.69 | 11
46.7 | 11
46.71 | 11
46.72 | 13
46.73 | 14
46.74 | 8
46.75 | 16
46.76 | 21
46.77 | 19
46.78 | 24
46.79 | 13
46.8 | 19
46.81 | 20
46.82 | 15
46.83 | 24
46.84 | 26
46.85 | 27
46.86 | 26
46.87 | 25
46.88 | 26
46.89 | 24
46.9 | 26
46.91 | 26
46.92 | 28
46.93 | 31
46.94 | 34
46.95 | 38
46.96 | 39
46.97 | 42
46.98 | 50
46.99 | 50
47 | 54
47.01 | 53
47.02 | 55
47.03 | 62
47.04 | 65
47.05 | 70
47.06 | 67
47.07 | 81
47.08 | 95
47.09 | 82
47.1 | 104
47.11 | 100
47.12 | 146
47.13 | 162
47.14 | 170
47.15 | 218
47.16 | 301
47.17 | 345
47.18 | 439
47.19 | 546
47.2 | 716
47.21 | 939
47.22 | 1171
47.23 | 1485
47.24 | 1929
47.25 | 2278
47.26 | 2453
47.27 | 2240
47.28 | 1744
47.29 | 1326
47.3 | 922
47.31 | 697
47.32 | 633
47.33 | 612
47.34 | 689
47.35 | 755
47.36 | 901
47.37 | 1090
47.38 | 1198
47.39 | 1168
47.4 | 1021
47.41 | 732
47.42 | 503
47.43 | 367
47.44 | 253
47.45 | 201
47.46 | 159
47.47 | 117
47.48 | 97
47.49 | 100
47.5 | 63
47.51 | 77
47.52 | 60
47.53 | 55
47.54 | 48
47.55 | 55
47.56 | 33
47.57 | 41
47.58 | 32
47.59 | 41
47.6 | 38
47.61 | 35
47.62 | 34
47.63 | 32
47.64 | 37
47.65 | 27
47.66 | 26
47.67 | 30
47.68 | 22
47.69 | 22
47.7 | 22
47.71 | 14
47.72 | 24
47.73 | 15
47.74 | 16
47.75 | 12
47.76 | 18
47.77 | 18
47.78 | 14
47.79 | 11
47.8 | 17
47.81 | 11
47.82 | 20
47.83 | 15
47.84 | 10
47.85 | 13
47.86 | 10
47.87 | 14
47.88 | 14
47.89 | 15
47.9 | 18
47.91 | 11
47.92 | 14
47.93 | 12
47.94 | 7
47.95 | 10
47.96 | 9
47.97 | 12
47.98 | 14
47.99 | 16
48 | 11
48.01 | 8
48.02 | 14
48.03 | 13
48.04 | 9
48.05 | 13
48.06 | 7
48.07 | 8
48.08 | 8
48.09 | 6
48.1 | 10
48.11 | 12
48.12 | 10
48.13 | 10
48.14 | 12
48.15 | 10
48.16 | 8
48.17 | 2
48.18 | 5
48.19 | 6
48.2 | 6
48.21 | 14
48.22 | 12
48.23 | 7
48.24 | 7
48.25 | 9
48.26 | 6
48.27 | 7
48.28 | 7
48.29 | 10
48.3 | 10
48.31 | 9
48.32 | 5
48.33 | 6
48.34 | 11
48.35 | 7
48.36 | 5
48.37 | 14
48.38 | 8
48.39 | 3
48.4 | 4
48.41 | 6
48.42 | 4
48.43 | 11
48.44 | 7
48.45 | 4
48.46 | 8
48.47 | 4
48.48 | 4
48.49 | 6
48.5 | 8
48.51 | 7
48.52 | 3
48.53 | 5
48.54 | 4
48.55 | 5
48.56 | 6
48.57 | 8
48.58 | 5
48.59 | 7
48.6 | 7
48.61 | 5
48.62 | 7
48.63 | 7
48.64 | 12
48.65 | 13
48.66 | 8
48.67 | 13
48.68 | 8
48.69 | 9
48.7 | 3
48.71 | 4
48.72 | 2
48.73 | 4
48.74 | 8
48.75 | 2
48.76 | 8
48.77 | 3
48.78 | 7
48.79 | 4
48.8 | 3
48.81 | 2
48.82 | 4
48.83 | 5
48.84 | 6
48.85 | 3
48.86 | 6
48.87 | 5
48.88 | 4
48.89 | 5
48.9 | 8
48.91 | 10
48.92 | 3
48.93 | 8
48.94 | 2
48.95 | 6
48.96 | 1
48.97 | 7
48.98 | 9
48.99 | 7
49 | 4
49.01 | 9
49.02 | 9
49.03 | 4
49.04 | 2
49.05 | 1
49.06 | 5
49.07 | 6
49.08 | 7
49.09 | 3
49.1 | 5
49.11 | 5
49.12 | 3
49.13 | 5
49.14 | 5
49.15 | 8
49.16 | 2
49.17 | 5
49.18 | 1
49.19 | 4
49.2 | 6
49.21 | 5
49.22 | 8
49.23 | 7
49.24 | 3
49.25 | 7
49.26 | 6
49.27 | 3
49.28 | 9
49.29 | 4
49.3 | 3
49.31 | 5
49.32 | 8
49.33 | 6
49.34 | 8
49.35 | 4
49.36 | 4
49.37 | 5
49.38 | 3
49.39 | 4
49.4 | 7
49.41 | 8
49.42 | 5
49.43 | 2
49.44 | 5
49.45 | 4
49.46 | 7
49.47 | 5
49.48 | 4
49.49 | 4
49.5 | 6
49.51 | 7
49.52 | 2
49.53 | 2
49.54 | 5
49.55 | 3
49.56 | 5
49.57 | 5
49.58 | 3
49.59 | 4
49.6 | 5
49.61 | 3
49.62 | 3
49.63 | 8
49.64 | 2
49.65 | 4
49.66 | 3
49.67 | 6
49.68 | 3
49.69 | 7
49.7 | 4
49.71 | 5
49.72 | 4
49.73 | 7
49.74 | 2
49.75 | 5
49.76 | 4
49.77 | 4
49.78 | 4
49.79 | 9
49.8 | 4
49.81 | 2
49.82 | 2
49.83 | 6
49.84 | 2
49.85 | 2
49.86 | 3
49.87 | 3
49.88 | 3
49.89 | 1
49.9 | 2
49.91 | 3
49.92 | 7
49.93 | 6
49.94 | 6
49.95 | 7
49.96 | 2
49.97 | 5
49.98 | 2
49.99 | 3
50 | 5
50.01 | 10
50.02 | 2
50.03 | 5
50.04 | 5
50.05 | 3
50.06 | 10
50.07 | 3
50.08 | 7
50.09 | 7
50.1 | 6
50.11 | 7
50.12 | 4
50.13 | 4
50.14 | 5
50.15 | 3
50.16 | 6
50.17 | 4
50.18 | 2
50.19 | 5
50.2 | 7
50.21 | 8
50.22 | 5
50.23 | 4
50.24 | 5
50.25 | 6
50.26 | 8
50.27 | 7
50.28 | 5
50.29 | 8
50.3 | 7
50.31 | 3
50.32 | 9
50.33 | 6
50.34 | 7
50.35 | 7
50.36 | 4
50.37 | 3
50.38 | 3
50.39 | 4
50.4 | 5
50.41 | 4
50.42 | 2
50.43 | 5
50.44 | 3
50.45 | 2
50.46 | 4
50.47 | 2
50.48 | 4
50.49 | 6
50.5 | 7
50.51 | 1
50.52 | 7
50.53 | 6
50.54 | 4
50.55 | 1
50.56 | 4
50.57 | 3
50.58 | 1
50.59 | 6
50.6 | 4
50.61 | 10
50.62 | 4
50.63 | 4
50.64 | 3
50.65 | 2
50.66 | 5
50.67 | 2
50.68 | 3
50.69 | 2
50.7 | 5
50.71 | 1
50.72 | 6
50.73 | 1
50.74 | 5
50.75 | 4
50.76 | 3
50.77 | 2
50.78 | 6
50.79 | 8
50.8 | 8
50.81 | 3
50.82 | 2
50.83 | 4
50.84 | 1
50.85 | 2
50.86 | 3
50.87 | 4
50.88 | 2
50.89 | 2
50.9 | 1
50.91 | 2
50.92 | 7
50.93 | 2
50.94 | 3
50.95 | 3
50.96 | 7
50.97 | 2
50.98 | 3
50.99 | 7
51 | 4
51.01 | 2
51.02 | 7
51.03 | 4
51.04 | 5
51.05 | 3
51.06 | 0
51.07 | 3
51.08 | 6
51.09 | 5
51.1 | 1
51.11 | 2
51.12 | 2
51.13 | 3
51.14 | 2
51.15 | 1
51.16 | 3
51.17 | 5
51.18 | 4
51.19 | 9
51.2 | 5
51.21 | 5
51.22 | 6
51.23 | 1
51.24 | 2
51.25 | 5
51.26 | 3
51.27 | 2
51.28 | 5
51.29 | 2
51.3 | 1
51.31 | 4
51.32 | 6
51.33 | 1
51.34 | 2
51.35 | 1
51.36 | 1
51.37 | 4
51.38 | 6
51.39 | 3
51.4 | 6
51.41 | 2
51.42 | 1
51.43 | 1
51.44 | 3
51.45 | 1
51.46 | 7
51.47 | 4
51.48 | 4
51.49 | 0
51.5 | 1
51.51 | 3
51.52 | 6
51.53 | 2
51.54 | 3
51.55 | 4
51.56 | 5
51.57 | 5
51.58 | 7
51.59 | 5
51.6 | 4
51.61 | 6
51.62 | 4
51.63 | 1
51.64 | 2
51.65 | 5
51.66 | 4
51.67 | 3
51.68 | 3
51.69 | 8
51.7 | 4
51.71 | 4
51.72 | 4
51.73 | 2
51.74 | 2
51.75 | 5
51.76 | 7
51.77 | 2
51.78 | 3
51.79 | 4
51.8 | 1
51.81 | 3
51.82 | 5
51.83 | 5
51.84 | 3
51.85 | 3
51.86 | 4
51.87 | 7
51.88 | 10
51.89 | 8
51.9 | 3
51.91 | 6
51.92 | 4
51.93 | 7
51.94 | 5
51.95 | 2
51.96 | 4
51.97 | 3
51.98 | 7
51.99 | 2
52 | 3
52.01 | 5
52.02 | 6
52.03 | 4
52.04 | 5
52.05 | 7
52.06 | 2
52.07 | 5
52.08 | 3
52.09 | 4
52.1 | 2
52.11 | 3
52.12 | 3
52.13 | 7
52.14 | 2
52.15 | 2
52.16 | 5
52.17 | 7
52.18 | 4
52.19 | 4
52.2 | 4
52.21 | 5
52.22 | 3
52.23 | 6
52.24 | 4
52.25 | 7
52.26 | 2
52.27 | 1
52.28 | 5
52.29 | 2
52.3 | 3
52.31 | 5
52.32 | 4
52.33 | 4
52.34 | 5
52.35 | 4
52.36 | 4
52.37 | 5
52.38 | 3
52.39 | 2
52.4 | 4
52.41 | 4
52.42 | 3
52.43 | 0
52.44 | 3
52.45 | 3
52.46 | 4
52.47 | 2
52.48 | 3
52.49 | 2
52.5 | 5
52.51 | 7
52.52 | 5
52.53 | 6
52.54 | 6
52.55 | 3
52.56 | 6
52.57 | 4
52.58 | 2
52.59 | 6
52.6 | 4
52.61 | 5
52.62 | 7
52.63 | 5
52.64 | 4
52.65 | 10
52.66 | 5
52.67 | 6
52.68 | 2
52.69 | 3
52.7 | 4
52.71 | 1
52.72 | 5
52.73 | 3
52.74 | 4
52.75 | 0
52.76 | 2
52.77 | 3
52.78 | 7
52.79 | 2
52.8 | 3
52.81 | 2
52.82 | 4
52.83 | 7
52.84 | 5
52.85 | 6
52.86 | 4
52.87 | 4
52.88 | 2
52.89 | 8
52.9 | 8
52.91 | 4
52.92 | 2
52.93 | 8
52.94 | 3
52.95 | 3
52.96 | 4
52.97 | 0
52.98 | 5
52.99 | 5
53 | 2
53.01 | 2
53.02 | 5
53.03 | 5
53.04 | 2
53.05 | 4
53.06 | 6
53.07 | 6
53.08 | 2
53.09 | 7
53.1 | 4
53.11 | 4
53.12 | 5
53.13 | 5
53.14 | 5
53.15 | 0
53.16 | 0
53.17 | 5
53.18 | 4
53.19 | 6
53.2 | 4
53.21 | 4
53.22 | 3
53.23 | 4
53.24 | 1
53.25 | 5
53.26 | 1
53.27 | 5
53.28 | 2
53.29 | 1
53.3 | 3
53.31 | 3
53.32 | 6
53.33 | 8
53.34 | 3
53.35 | 5
53.36 | 2
53.37 | 4
53.38 | 3
53.39 | 5
53.4 | 2
53.41 | 3
53.42 | 4
53.43 | 4
53.44 | 5
53.45 | 4
53.46 | 4
53.47 | 4
53.48 | 5
53.49 | 4
53.5 | 2
53.51 | 3
53.52 | 1
53.53 | 7
53.54 | 2
53.55 | 3
53.56 | 7
53.57 | 9
53.58 | 6
53.59 | 5
53.6 | 2
53.61 | 7
53.62 | 5
53.63 | 6
53.64 | 5
53.65 | 4
53.66 | 2
53.67 | 5
53.68 | 1
53.69 | 4
53.7 | 3
53.71 | 5
53.72 | 6
53.73 | 3
53.74 | 4
53.75 | 5
53.76 | 6
53.77 | 7
53.78 | 5
53.79 | 2
53.8 | 5
53.81 | 1
53.82 | 2
53.83 | 4
53.84 | 7
53.85 | 2
53.86 | 1
53.87 | 3
53.88 | 2
53.89 | 5
53.9 | 3
53.91 | 6
53.92 | 4
53.93 | 4
53.94 | 3
53.95 | 2
53.96 | 2
53.97 | 4
53.98 | 7
53.99 | 4
54 | 8
54.01 | 3
54.02 | 3
54.03 | 4
54.04 | 4
54.05 | 2
54.06 | 4
54.07 | 2
54.08 | 4
54.09 | 6
54.1 | 5
54.11 | 9
54.12 | 3
54.13 | 5
54.14 | 6
54.15 | 2
54.16 | 4
54.17 | 5
54.18 | 4
54.19 | 3
54.2 | 5
54.21 | 6
54.22 | 3
54.23 | 4
54.24 | 6
54.25 | 4
54.26 | 1
54.27 | 2
54.28 | 6
54.29 | 4
54.3 | 6
54.31 | 10
54.32 | 4
54.33 | 4
54.34 | 7
54.35 | 6
54.36 | 10
54.37 | 6
54.38 | 10
54.39 | 11
54.4 | 4
54.41 | 2
54.42 | 6
54.43 | 3
54.44 | 3
54.45 | 8
54.46 | 5
54.47 | 4
54.48 | 5
54.49 | 6
54.5 | 8
54.51 | 3
54.52 | 2
54.53 | 6
54.54 | 6
54.55 | 7
54.56 | 6
54.57 | 5
54.58 | 4
54.59 | 10
54.6 | 9
54.61 | 3
54.62 | 5
54.63 | 2
54.64 | 4
54.65 | 8
54.66 | 5
54.67 | 6
54.68 | 3
54.69 | 3
54.7 | 3
54.71 | 4
54.72 | 2
54.73 | 7
54.74 | 5
54.75 | 6
54.76 | 10
54.77 | 10
54.78 | 4
54.79 | 8
54.8 | 8
54.81 | 8
54.82 | 5
54.83 | 3
54.84 | 3
54.85 | 7
54.86 | 6
54.87 | 11
54.88 | 8
54.89 | 8
54.9 | 7
54.91 | 7
54.92 | 3
54.93 | 7
54.94 | 8
54.95 | 5
54.96 | 7
54.97 | 8
54.98 | 6
54.99 | 6
55 | 10
55.01 | 4
55.02 | 10
55.03 | 5
55.04 | 7
55.05 | 5
55.06 | 5
55.07 | 6
55.08 | 5
55.09 | 13
55.1 | 6
55.11 | 5
55.12 | 8
55.13 | 13
55.14 | 9
55.15 | 9
55.16 | 6
55.17 | 10
55.18 | 9
55.19 | 6
55.2 | 10
55.21 | 8
55.22 | 8
55.23 | 6
55.24 | 4
55.25 | 11
55.26 | 7
55.27 | 4
55.28 | 6
55.29 | 8
55.3 | 14
55.31 | 7
55.32 | 7
55.33 | 7
55.34 | 9
55.35 | 11
55.36 | 7
55.37 | 6
55.38 | 11
55.39 | 14
55.4 | 14
55.41 | 10
55.42 | 12
55.43 | 10
55.44 | 9
55.45 | 7
55.46 | 10
55.47 | 5
55.48 | 7
55.49 | 11
55.5 | 14
55.51 | 8
55.52 | 12
55.53 | 14
55.54 | 15
55.55 | 8
55.56 | 11
55.57 | 13
55.58 | 11
55.59 | 9
55.6 | 14
55.61 | 5
55.62 | 14
55.63 | 10
55.64 | 8
55.65 | 14
55.66 | 8
55.67 | 14
55.68 | 18
55.69 | 16
55.7 | 20
55.71 | 17
55.72 | 16
55.73 | 18
55.74 | 22
55.75 | 23
55.76 | 20
55.77 | 23
55.78 | 27
55.79 | 31
55.8 | 37
55.81 | 33
55.82 | 38
55.83 | 37
55.84 | 32
55.85 | 45
55.86 | 54
55.87 | 47
55.88 | 41
55.89 | 53
55.9 | 65
55.91 | 80
55.92 | 59
55.93 | 88
55.94 | 88
55.95 | 96
55.96 | 144
55.97 | 176
55.98 | 168
55.99 | 206
56 | 269
56.01 | 331
56.02 | 406
56.03 | 517
56.04 | 663
56.05 | 833
56.06 | 1023
56.07 | 1204
56.08 | 1204
56.09 | 1185
56.1 | 901
56.11 | 699
56.12 | 535
56.13 | 433
56.14 | 316
56.15 | 302
56.16 | 269
56.17 | 292
56.18 | 333
56.19 | 359
56.2 | 440
56.21 | 500
56.22 | 543
56.23 | 617
56.24 | 597
56.25 | 503
56.26 | 370
56.27 | 266
56.28 | 213
56.29 | 184
56.3 | 126
56.31 | 107
56.32 | 102
56.33 | 69
56.34 | 56
56.35 | 65
56.36 | 44
56.37 | 38
56.38 | 36
56.39 | 40
56.4 | 28
56.41 | 28
56.42 | 30
56.43 | 33
56.44 | 22
56.45 | 22
56.46 | 22
56.47 | 22
56.48 | 18
56.49 | 18
56.5 | 23
56.51 | 16
56.52 | 13
56.53 | 26
56.54 | 16
56.55 | 10
56.56 | 6
56.57 | 13
56.58 | 14
56.59 | 10
56.6 | 8
56.61 | 13
56.62 | 11
56.63 | 10
56.64 | 4
56.65 | 8
56.66 | 8
56.67 | 17
56.68 | 9
56.69 | 11
56.7 | 3
56.71 | 4
56.72 | 15
56.73 | 8
56.74 | 13
56.75 | 8
56.76 | 4
56.77 | 8
56.78 | 8
56.79 | 5
56.8 | 9
56.81 | 12
56.82 | 8
56.83 | 6
56.84 | 9
56.85 | 7
56.86 | 9
56.87 | 12
56.88 | 5
56.89 | 4
56.9 | 7
56.91 | 9
56.92 | 11
56.93 | 9
56.94 | 8
56.95 | 3
56.96 | 2
56.97 | 3
56.98 | 4
56.99 | 9
57 | 3
57.01 | 6
57.02 | 7
57.03 | 3
57.04 | 3
57.05 | 8
57.06 | 4
57.07 | 5
57.08 | 3
57.09 | 7
57.1 | 3
57.11 | 4
57.12 | 9
57.13 | 4
57.14 | 8
57.15 | 5
57.16 | 4
57.17 | 9
57.18 | 5
57.19 | 4
57.2 | 9
57.21 | 6
57.22 | 2
57.23 | 7
57.24 | 4
57.25 | 5
57.26 | 8
57.27 | 7
57.28 | 6
57.29 | 4
57.3 | 6
57.31 | 6
57.32 | 6
57.33 | 3
57.34 | 3
57.35 | 2
57.36 | 2
57.37 | 6
57.38 | 5
57.39 | 0
57.4 | 2
57.41 | 4
57.42 | 6
57.43 | 6
57.44 | 4
57.45 | 2
57.46 | 1
57.47 | 1
57.48 | 7
57.49 | 5
57.5 | 2
57.51 | 8
57.52 | 4
57.53 | 4
57.54 | 7
57.55 | 4
57.56 | 1
57.57 | 6
57.58 | 1
57.59 | 1
57.6 | 4
57.61 | 5
57.62 | 3
57.63 | 3
57.64 | 3
57.65 | 1
57.66 | 2
57.67 | 4
57.68 | 2
57.69 | 6
57.7 | 5
57.71 | 4
57.72 | 7
57.73 | 2
57.74 | 3
57.75 | 3
57.76 | 2
57.77 | 2
57.78 | 7
57.79 | 4
57.8 | 3
57.81 | 3
57.82 | 1
57.83 | 3
57.84 | 2
57.85 | 2
57.86 | 1
57.87 | 7
57.88 | 4
57.89 | 2
57.9 | 3
57.91 | 3
57.92 | 7
57.93 | 2
57.94 | 5
57.95 | 4
57.96 | 4
57.97 | 5
57.98 | 3
57.99 | 2
58 | 5
58.01 | 3
58.02 | 3
58.03 | 2
58.04 | 2
58.05 | 3
58.06 | 4
58.07 | 4
58.08 | 3
58.09 | 2
58.1 | 2
58.11 | 3
58.12 | 2
58.13 | 3
58.14 | 7
58.15 | 1
58.16 | 1
58.17 | 2
58.18 | 1
58.19 | 0
58.2 | 6
58.21 | 4
58.22 | 2
58.23 | 2
58.24 | 3
58.25 | 2
58.26 | 5
58.27 | 1
58.28 | 6
58.29 | 3
58.3 | 2
58.31 | 5
58.32 | 2
58.33 | 1
58.34 | 2
58.35 | 4
58.36 | 3
58.37 | 2
58.38 | 3
58.39 | 6
58.4 | 1
58.41 | 4
58.42 | 5
58.43 | 3
58.44 | 3
58.45 | 2
58.46 | 3
58.47 | 4
58.48 | 0
58.49 | 0
58.5 | 2
58.51 | 3
58.52 | 2
58.53 | 0
58.54 | 4
58.55 | 5
58.56 | 2
58.57 | 6
58.58 | 3
58.59 | 5
58.6 | 6
58.61 | 6
58.62 | 4
58.63 | 4
58.64 | 5
58.65 | 3
58.66 | 1
58.67 | 1
58.68 | 2
58.69 | 1
58.7 | 3
58.71 | 1
58.72 | 1
58.73 | 3
58.74 | 3
58.75 | 3
58.76 | 4
58.77 | 3
58.78 | 0
58.79 | 4
58.8 | 3
58.81 | 3
58.82 | 5
58.83 | 3
58.84 | 2
58.85 | 3
58.86 | 3
58.87 | 1
58.88 | 2
58.89 | 4
58.9 | 5
58.91 | 6
58.92 | 6
58.93 | 4
58.94 | 5
58.95 | 3
58.96 | 2
58.97 | 4
58.98 | 3
58.99 | 1
59 | 2
59.01 | 3
59.02 | 5
59.03 | 3
59.04 | 3
59.05 | 2
59.06 | 2
59.07 | 1
59.08 | 3
59.09 | 0
59.1 | 3
59.11 | 3
59.12 | 3
59.13 | 2
59.14 | 1
59.15 | 4
59.16 | 3
59.17 | 4
59.18 | 1
59.19 | 4
59.2 | 2
59.21 | 2
59.22 | 3
59.23 | 4
59.24 | 7
59.25 | 3
59.26 | 1
59.27 | 2
59.28 | 3
59.29 | 2
59.3 | 5
59.31 | 6
59.32 | 2
59.33 | 7
59.34 | 2
59.35 | 2
59.36 | 7
59.37 | 2
59.38 | 3
59.39 | 1
59.4 | 1
59.41 | 4
59.42 | 2
59.43 | 2
59.44 | 2
59.45 | 6
59.46 | 1
59.47 | 2
59.48 | 1
59.49 | 4
59.5 | 1
59.51 | 0
59.52 | 3
59.53 | 4
59.54 | 5
59.55 | 2
59.56 | 4
59.57 | 1
59.58 | 1
59.59 | 5
59.6 | 4
59.61 | 3
59.62 | 5
59.63 | 5
59.64 | 5
59.65 | 6
59.66 | 3
59.67 | 1
59.68 | 5
59.69 | 5
59.7 | 2
59.71 | 1
59.72 | 3
59.73 | 4
59.74 | 2
59.75 | 4
59.76 | 4
59.77 | 2
59.78 | 2
59.79 | 3
59.8 | 2
59.81 | 1
59.82 | 1
59.83 | 2
59.84 | 3
59.85 | 3
59.86 | 3
59.87 | 2
59.88 | 4
59.89 | 5
59.9 | 2
59.91 | 3
59.92 | 2
59.93 | 2
59.94 | 4
59.95 | 6
59.96 | 4
59.97 | 2
59.98 | 1
59.99 | 3
60 | 2